## Slide 1
Continuous Glucose Monitoring
Dr Paolo Actis
p.actis@leeds.ac.uk

## Slide 2
Dernowsek et al, 2018, Biomechanics
An electronics journey through the human body

## Slide 4
Mole
One mole (mol) of potatoes contains 6.022 1023 potatoes
Avogadro’s Constant: 6.022 1023 mol-1
Notes: Chemists measure the amount of a substance in a unit called ‘the mole’. This is a convenient way of counting atoms.

## Slide 5
Molarity (M)
Molarity (M): moles per unit volume
Example: 1M (one molar) = 1mol/L= 6.022 1023 L-1

## Slide 7
How many glucose molecules are present in a 10 μL blood droplet if the glucose meter reads 5.8 mM?
Example

## Slide 8
Moles=?
5.8 10-3 mol/L 10-5 L = 5.8 10-8 mol
5.8 10-8 mol 6 1023 mol-1 = 3.5 1016 glucose molecules
Solution

## Slide 9
What if I want to measure
a cancer biomarker?
Notes: Why not infectious diseases that accounts for ¼ of global deaths? Or malaria? Or kidney disease? Or alzheimer? Or stroke?

## Slide 10
Source: The blood peptidome: a higher dimension of information content for cancer biomarker discovery,
Nature Reviews Cancer, 2006

## Slide 11
Cancer biomarker 10-15 M
Moles=?
10-15 mol/L 10-5 L = 10-20 mol
10-20 mol 6 1023 mol-1 = 6 103 biomarker molecules
Solution

## Slide 12
 | Glucose | Cancer Biomarker
Concentration | 5 mM | fM
Number of molecules (10 µL droplet) | 3.5 1016 | 6 103

## Slide 13
Why Continuous Glucose Monitoring ?

## Slide 14
Facts about Diabetes
Sources: WHO, 11/2021
Diabetes is a chronic disease that occurs either when the pancreas does not produce enough insulin or when the body cannot effectively use the insulin it produces. Insulin is a hormone that regulates blood sugar. Hyperglycaemia, or raised blood sugar, is a common effect of uncontrolled diabetes and over time leads to serious damage to many of the body's systems, especially the nerves and blood vessels.

## Slide 15
Facts about Diabetes
Globally, 422 million adults were living with diabetes in 2014, compared to 108 million in 1980.
2. Diabetes caused 1.9 million deaths in 2019
Sources: WHO, 11/2021
3. CGM market valued at US$ 1.3bn in 2016

## Slide 16
Because patients want it
Notes: Why not infectious diseases that accounts for ¼ of global deaths? Or malaria? Or kidney disease? Or alzheimer

## Slide 17
freeStyle Libre

## Slide 18
Watch the Video on Minerva

## Slide 19
ACTUAL SIZE: 3.5 MM X 18.3 MM
Eversense CGM
90 days of highly accurate CGM readings
Needs to be implanted by a medical professional
Optical Readout
On body vibe alerts

## Slide 20
Eversense CGM
Last year the FDA approved its use for 180 days
but

## Slide 21
Eversense CGM
Last year FDA approved its use for 180 days
But
twice a day calibration with finger-prick test

## Slide 22
Eversense CGM
https://www.liebertpub.com/doi/10.1089/dia.2018.0028#

## Slide 23
Eversense CGM
https://www.liebertpub.com/doi/10.1089/dia.2018.0028#

## Slide 24
Start-up in CGM

## Slide 25
profusa

## Slide 26
A tattoo CGM?

## Slide 27
A contact-lense CGM?